Single-cell genomics instruments and workflows

The image shows the instruments and workflows for comprehensive single-cell and single-nucleus RNA sequencing offered by the SCSG Facility.

- Cell sorting on a SONY SH800S

- Cell QC (quality control) on a Luna-FX7

- Single cell partitioning on 10X Genomics, and BD Rhapsody

- Library QC (quality control) on a TapeStation 4200, and Qubit 4

- Sequencing on a Novogene/Azenta